FOOD SERVICE REQUIREMENTS

The list below is intended to give you an idea of what is required for approval of  the  proposed food service establishment.  Local health and building codes may vary or have additional requirements.

A completed plan review form and a floor plan should be submitted with the appropriate fees to the local health department before construction for review and approval.

You may obtain a complete copy of the Virginia Department of Health Food Service Regulations from the local Health Department or at the Virginia Department of Health Web Site: www.vdh.virginia.gov.

Catering is not permitted from a home-based kitchen.

Water & Waste Water

- Approved water supply – A Class IIB Non-community well, public water supply or other approved water supply.

- Approved sewage disposal system-properly sized on-site sewage disposal system (septic system) or public sewer.

- Grease trap as required by health department, building codes or public service authority.

Floors, Walls & Ceilings

- Floor materials should be grease resistant, impervious and easily cleanable.

- If floor drains are provided, floor drains should be graded to drain.

- All wall and floor junctures to be coved. (sealed with baseboard, molding, silicone or by other approved methods)

- Walls and ceilings should be smooth and easily cleanable in the kitchen and restrooms.

- Drop ceilings are permitted but the inserts must be smooth and cleanable.

- Peg board or other attachments to the walls in the kitchen should be removable and cleanable.

- No carpet or carpeted mats in kitchen, food prep, food storage or ware washing areas.

- No beams, piping or sewer lines should be exposed over food prep or food and equipment storage.

- Conduits leading to equipment should not be set directly on the floor or attached directly to the wall so that it does not hinder cleaning.

- Floors, walls and ceilings must be properly finished around ducts, pipes and cables.

Restrooms

- Public restrooms must be provided if seating is provided.  Check with local building codes regarding number and handicap accessibility requirements.

- Employee restroom must be provided if only take-out service available.

- Restroom doors must be self closing.

- Restrooms must have outside ventilation such as mechanical fans, screened windows or air shaft.

- Restrooms must have hand washing sinks with hot and cold running water, soap dispenser, paper towel dispenser or air dryer.

- Ladies restrooms must have covered trash cans.

Hand washing

- Hand sinks must be provided in all food preparation and ware washing areas.

- Hand sinks must be provided with tempered hot and cold running water through a mixing faucet.

- Hand sinks must be supplied with soap and paper towels or other approved hand drying devices.

- Hand washing signs must be posted at all sinks where employees wash their hands.

Plumbing

- All plumbing must meet local or state building codes requirements.

- All water supplied equipment to be installed to prevent back-siphonage or cross connections, i.e., water supplied to a garbage disposal below the flood rim of the sink must be plumbed with a vacuum breaker.

- Hoses hooked to utility sinks or spigots must have the appropriate back flow preventer, vacuum breaker or air gap.

- All waste lines for 3 compartment sinks, culinary or prep sinks, walk-in refrigerated compressors, ice bins, ice machines, ice cream machines, dipper wells, steam kettles, coffee urns, ware washing machines and similar equipment are considered indirect waste and must be discharged through an air  gap into a properly vented drain.

- Any sinks used for food prep must be air gapped.

Lighting

- 50 foot candles of light must be provided over food prep and cooking areas.

- 20 foot candles of light must be provided over buffets, in reach in refrigerated units, utensil storage, hand washing & ware washing areas and restrooms.

- 10 foot candles of light must be provided in storage areas.

- All lighting must be shielded even at buffets, salad bars, in refrigerated units and in displays.

Ventilation & Fire Suppression

- Heat, steam, noxious odors and grease laden vapors must be ventilated.

- Hood and fire suppression systems are required over cooking and frying surfaces by local & state building code requirements.

Trash & Pest Control

- All trash must be stored in dumpsters or cleanable, covered containers.

- All trash and waste grease containers must be on easily cleanable paved or concrete pad.  The asphalt or concrete should be reinforced in front of the dumpster so trash trucks to not damage the area.

- Dumpsters must have plugs.

- All outer openings must be properly protected with doors, screens or fans.

- All exterior doors must be self closing.

- Fly control devices should not be placed over food prep, food storage, ware washing and equipment storage.

- A certified pest control operator should be contracted to control pests.

Storage

- Shelving units must be properly constructed.  Wire shelving is recommended over wooden shelving.

- All food, single service and other supplies must be kept at least 6 inches off of the floor.

- A separate area should be provided for storage of poisonous products and cleaning supplies.

- A separate area should be provided for storage of personal items (employee lockers)

- Adequate cold storage facilities such as refrigerators, walk ins, and freezers must be provided.

- Refrigerated units must be at 41°F or below.  Freezers should be at 0°F or below.

- All refrigerated units must have numerically scaled thermometers and be located in the warmest part of the unit.

- Adequate hot holding units such as steam tables, heated cabinets, etc. must be provided.

- Food in hot holding units must be maintained at 135°F or above.

Ware washing  & Utility areas

- A 3 compartment sink for wash, rinsing and sanitizing dishes and equipment with double drain boards is required.  Adequate space to accommodate dirty equipment before cleaning and adequate space to air dry clean equipment should be provided.

- Soap and paper towels should not be installed over 3 compartment sinks.  This sink is only for ware washing or food prep.

- Dish washing machines are optional but if provided must be commercial grade and sanitize with heat or chemicals.

- A mop/utility sink or curbed floor hopper is required for disposal of mop water.

- If a premix chemical system is to be installed it is recommended that a separate plumbing fixture be installed.

- If a washer and dryer is to be installed it should be located in a separate area away from food prep or food or equipment storage.

- A bin or hamper should be located for storage of soiled linen.

Miscellaneous Requirements

- A metal stem, digital thermometer or thermocouple must be provided for checking food temperatures.

- A thermometer with a thin probe must be provided if thin foods are prepared.

- A chemical test kit must be provided for checking the concentration of all sanitizers used.

- Sneeze guards must be provided over any buffets, salad bars or self-service food items.

- There must me a “person in charge” (PIC) of the food establishment at all times.  This person must demonstrate knowledge of food safety by taking a quiz administered by the Health Department or have passed a recognized food safety program.

- An Employee Health Policy is required.  Employees must be aware of what symptoms of illness to report to the PIC (person in charge).  The PIC will than make the determination if the employee is restricted or excluded from handling food.

- A menu must be provided and a menu review should be done with the Environmental Health Specialist assigned to the facility prior to operating.

- Any changes to the menu should be discussed after opening with the Environmental Health Specialist at the time of the inspection.

- Any changes/construction to the facility after opening such as remodeling or moving of equipment must be pre-approved by the Environmental Health Specialist.

- A Certificate of Occupancy from the Department of Building must be issued prior to the issuance of a Food Service Operations Permit by the Health Department.

Certified Food Protection Manager Requirement

By July 1, 2018 at least one employee with supervisory & management responsibility & the authority to direct & control food preparation & service shall be a Certified Food Protection Manager, demonstrating proficiency of required knowledge & information through passing a test that is part of an accredited program.

(Some exceptions apply)

It is recommended that the certification be

posted or easily accessible.

Go to www.vdh.virginia.gov to find out what programs are accredited or ask your Environmental Health Specialist

Application For A Food Establishment Permit

Application for:         New Establishment          Renewal          Name Change           Change of Ownership

Name of Establishment (DBA)_________________________________ Telephone _______________________________

Physical Address  __________________________________________   Fax ____________________________________

______________ _________________________________________    Email___________________________________

Applicant/Contact Name ________________________________________     Title ______________________________

Mailing Address _________________________________________

______________________________________________________     Telephone_______________________________

Legal owner type:      Association         Corporation          Individual          Partnership         Other legal entity

Legal owner/Business name __________________________________    Telephone __________________________

Legal owner mailing address _______________________________________________________________________

________________________________________________________   FIN/Tax ID_________________________

Billing Address _________________________________________________________________________________

If legal owner is other than an individual, please attach a list of names, titles, and addresses of all persons comprising the legal ownership.

Local registered agent (if required – out of state corporations must identify registered agent for Virginia)

Name ______________________________________________  Title _____________________________________

Address ____________________________________________	 Telephone ________________________________

____________________________________________

Person directly responsible for the establishment			Immediate supervisor or responsible person

Name ______________________________________		Name ____________________________________

Title ________________________________________		Title _____________________________________

Address _____________________________________		Address ___________________________________

Telephone ___________________________________		Telephone ________________________________

Is the food establishment (check appropriate)      Stationary        Mobile        Seasonal

Type:     Full service       Fast food       Carry out        Caterer        Hospital        School        Private College Food Service

Nursing Home       Adult Day Care       Other (please explain) ___________________________________________

Smoking Status:       Smoke Free       Smoking allowed in restricted areas      Smoking with no restrictions on the public

Wastewater Grease Removal:     Grease trap interior       Grease trap exterior        Other____________      None

Does the establishment (check Yes or No)

- Prepare, offer for sale, or serve TCS* (temperature control for safety) food:       Yes       No

Are TCS foods only prepared from raw frozen ingredients       Yes        No

Are TCS foods cooked, cooled, and reheated       Yes        No

Only to order upon consumer’s request       Yes       No

In advance quantities       Yes       No

Using time as the public health control       Yes        No

- Prepare temperature control for safety food in advance using a food preparation method that involves two or more steps which may include combining temperature control for safety food ingredients, cooking, cooling, reheating, hot or cold holding, freezing, or thawing         Yes             No

- Prepare food as specified under (2) for delivery to and consumption at a location off premises of the food establishment where it is prepared         Yes          No

- Prepare food as specified under (2) of this section for service to a highly susceptible population (i.e., the elderly, young children, or those with weakened immune systems)         Yes          No

- Prepares only foods that require NO temperature control (no refrigeration or hot holding)        Yes         No

Total number of seats ____________	    Number of smoking seats __________

Water Supply:  Public – Name ____________________        Private – Type __________________________

Sewage:  Public – Name _________________________	     Private – Type __________________________

I/We attest to the accuracy of the information provided, affirm to comply with the Food Regulations, allow the regulatory authority access to the establishment at any reasonable time to inspect, conduct tests or collect samples as required, and agree to accept notices issued and served by the regulatory authority.

Signature______________________________________    Title ______________________________________

Print Name ___________________________________      Date ______________________________________

Office use Only Facility Type: ______________________________ Chain/Franchise________________________________ Approved for Permit ________________________ EHS ________________________________________ Date Signed _______________________________ Date Issued __________________________________ Establishment Assigned to __________________________________________________________________ Plan Reviews Completed ___________________________________________________________________ Fees: Application __________________________ Plan Review ____________________________________ Date Collected________________________________ FEES ARE NON-REFUNDABLE

# Text boxes

* TCS (temperature control for safety) foods - Foods that need time and temperature control for safety. Examples of TCS foods are: dairy products, shell eggs, fish, poultry, meat, cut melons, cooked vegetables, soup, cooked rice, tofu, etc. Previously, these foods have been referred to as “potentially hazardous” foods